**Wall-mounted liquid soap dispenser, 0.9 litres**

Hypereco

White ABS

Reference: **374001**

Specification description

Wall-mounted liquid soap dispenser.

White ABS.

With lock.

Window for monitoring soap level.

Capacity: 0.9 litre.

Push-button with non-drip system.

Dimensions: 95 x 130 x 235mm.