**Chrome-plated 2.5mm Allen key**

For adjusting Eco flow straightener flow rate

Reference: **C282025**

Specification description

Chrome-plated 2.5mm Allen key adjusting ECO flow straighteners (ref.922024.2P/922022.2P).