**Single jet shower kit**

Ø 22mm rail

Reference: **801**

Specification description

Single jet shower kit:

- chrome-plated stainless steel shower rail Ø 22mm, overall length 700mm with 620mm centres, can be cut to size,

- a sliding shower head holder, can be adjusted in height and inclined,

- transparent soap dish,

- smooth, BICOLOR PVC flexible hose in food-grade metallo-plastic PVC, L. 1.50m (ref. 834T1),

- chrome-plated scale-resistant single jet shower head Ø 70mm, rain effect (ref. 811).