**Single jet shower kit**

Ø 25mm rail

Reference: **806**

Specification description

Single jet shower kit includes:

- chrome-plated stainless steel shower rail Ø 25mm, overall length 580mm with 540mm centres, can be cut to size,

- a sliding shower head holder, can be adjusted in height and inclined,

- chrome-plated soap dish,

- smooth BICOLOR PVC flexible hose in food-grade metallo-plastic PVC, L. 1.50m (ref. 834T1),

- scale-resistant ABS chrome-plated single jet shower head Ø 100mm: rain effect (ref. 815).

- shower hose retaining collar (ref. 830).