**White, reinforced PVC flexible hose**

L. 1m

Reference: **1583**

Specification description

White, opaque, reinforced PVC flexible hose, FF1/2" L. 1.00m.

Prevents the development of germs or algae due to the light.

Rotating nuts FF1/2" prevent the flexible from twisting.

Pre-mounted unions provide a waterproof seal.