**GYM COMFORT shower head**

With grid

Ceiling-mounted, Ø 45mm

Reference: **711000**

Specification description

Adjustable shower head.

 Scale-resistant.

30 lpm at 3 bar without flow limiter.

F1/2", Ø 45mm.

30-year warranty.