**Flush tube**

For WC pan with TEMPOFLUX 3/4"

Stainless steel

Reference: **766002**

Specification description

Flush tube for WC pans.

For exposed and compact TEMPOFLUX 1.

Bright polished stainless steel elbow flush tube Ø 28mm with collar and no nut.

With connection washer Ø 28/55mm with clamp.

30-year warranty.