**White pe-rinse set with no valve**

With bib tap and swivelling telescopic spout

White flexible and scale-resistant hand spray

Reference: **433220**

Specification description

White pre-rinse set without valve suitable for intensive use in professional kitchens.

Bib tap with swivelling telescopic spout L. 200 - 290mm and valve head with control knob.

White hand spray with adjustable jet and 9 lpm flow rate at the outlet (ref. 433000).

Scale-resistant hand spray with shock-resistant tip.

White reinforced food-grade flexible hose L. 0.95m.

3/4" long brass column.

Adjustable wall bracket.

Stainless steel spring guide.

30-year warranty.

This pre-rinse set, with no water control valve, comprises spare parts for repairing pre-rinse sets.