**Water hammer absorber**

Water hammer absorber F1"

H. 98mm

Reference: **23026**

Specification description

Water hammer absorber with stainless steel spring and piston.

Rough cast brass.

Absorbs the smallest pressure variations and water hammer up to 20 bar.

F1", H. 98mm.

30-year warranty.