**Water hammer absorber**

Water hammer absorber F1"1/4

H. 103mm

Reference: **23033**

Specification description

Water hammer absorber with stainless steel spring and piston.

Rough cast brass.

Absorbs the smallest pressure variations and water hammer up to 20 bar.

F1 1/4", H. 103mm.

30-year warranty.