**Swivelling swan neck tubular spout L. 200mm**

Accessories for Commercial Kitchens

Rapid-fill spout

Reference: **943200110**

Specification description

Tubular swan neck spout L. 200mm F3/4" in chrome-plated brass.

Ø 22mm swivelling spout .

Star-shaped, brass flow straightener.

Smooth interior reduces niches where bacteria can develop.

Can be installed as an under or over spout on a wall-mounted mixer/tap.