**White pre-rinse set without valve with short column**

With bib tap and swivelling telescopic spout

White flexible and scale-resistant hand spray

Reference: **435422**

Specification description

White pre-rinse set without valve suitable for intensive use in professional kitchens.

Bib tap with swivelling telescopic spout L. 200 - 290mm with valve head with control knob.

White hand spray with adjustable jet with 10 lpm at the outlet (ref. 433003).

Scale-resistant hand spray with shock-resistant tip.

Reinforced, food-grade, white flexible hose L. 0.95m.

3/4" short brass column for wall-mounted valves.

Adjustable wall bracket.

Stainless steel spring guide.

30-year warranty.

This model, without water control valve, comprises spare parts for refurbishing pre-rinse sets.