**Swivelling, tubular spout L.300mm**

Under spout

H.80mm L.300mm

Reference: **943300110**

Specification description

Swivelling, tubular under spout F3/4" in chrome-plated brass.

Ø 22mm swivelling spout, H.80mm L.300mm.

Star-shaped, brass flow straightener.

Smooth interior reduces niches where bacteria can develop.

For wall-mounted taps/mixers.