**Ø40mm ceramic cartridge**

Cartridge with base

No flow rate limiter

Reference: **N109AG75**

Specification description

Ø40mm standard ceramic cartridge with base, no flow rate limiter.

For mixers with retractable hand spray product ranges:

- 2211, 2211L (for models sold since 12/2017)

For shower mixer product ranges:

- 2239, 2239S,

- 2252S (for models sold before 04/2023)

- 2539, 2539S

- 2739, 2739S, 2739T, 2739TS

For professional catering product ranges:

- 5526