**Lithium battery**

For basin, shower, urinal and WC

6V - 223 CR-P2

Reference: **990223**

Specification description

Lithium battery.

6V power supply.

223 CR-P2 batteries.

For basin, shower, urinal and WC electronic control unit.

Dimensions: 35,5 x 35 x 19,5mm.