**Control Plate**

For TEMPOMIX 3 shower mixers

Recessed, chrome-plated metal

Reference: **794PLAQ**

Specification description

Control cover plate only.

For TEMPOMIX 3 time flow shower mixers

Tamperproof chrome-plated metal control plate 160 x 160mm.