**WC cartridge repair kit**

For TEMPOCHASSE WC

Time flow ~7 s

Reference: **753779**

Specification description

Repair kit for WC TEMPOCHASSE time flow.

For mechanisms with Ø18mm seat.

For exposed WC flush system cartridges, time flow ~7sec.