**Subassembly for wall-mounted mixer**

For 150mm centres

Reference: **G6493**

Specification description

Subassembly for pre-rinse sets with wall-mounted mixers.

For references G6432 and G6433.

Chrome-plated brass.

150mm centres.