**Subassembly for deck-mounted mixer**

Mixer no spout

Reference: **G6559**

Specification description

Subassembly for deck-mounted pre-rinse mixers and deck-mounted mixers.

For pre-rinse sets G6532 and G6533 and for mixers for professional kitchens G65602 and G65603.

Chrome-plated brass.