**Time flow cartridge**

For TEMPOMIX shower

Time flow ~30 seconds

Reference: **743790**

Specification description

Time flow cartridge for TEMPOMIX shower (old design).

Time flow ~30 seconds.