**Time flow cartridge**

For TEMPOSTOP shower

Adjustable flow rate, Time flow ~30 seconds

Reference: **743428**

Specification description

Time flow cartridge for TEMPOSTOP shower.

Adjustable flow rate.

Time flow ~30 seconds.