**Time flow cartridge**

For cross wall/recessed TEMPOSTOP 3/4" shower

Time flow ~30 seconds

Reference: **743642**

Specification description

Time flow cartridge for cross wall/recessed TEMPOSTOP shower.

Time flow ~30 seconds.

Adjustable flow rate.