**Time flow cartridge**

For TEMPOMIX recessed shower

Time flow ~30 seconds

Reference: **743797**

Specification description

Time flow cartridge for TEMPOMIX recessed shower (old design).

Time flow ~30 seconds.