**Time flow cartridge**

For TEMPOSTOP basin

Time flow ~15 seconds, AB anti-blocking system

Reference: **743115**

Specification description

Time flow cartridge for TEMPOSTOP basin.

Time flow ~15 seconds.

AB anti-blocking system.